## Scenario 1
CALIFORNIA
Scenario 1 : PV supplies 100% of electricty annually
2016-12-01
| Residential energy consumed for california |  |  |  |  | 88400
| population |  |  |  |  | 39250017
| Persons per household |  |  |  |  | 2.96
| Households |  |  |  |  | 13260140.8784
(http://rredc.nrel.gov/solar/pubs/redbook/)
BP E 160 modules: Nominal power generation= 160 W at an irradiation of 1000 W/m2
Data source: U.S. Energy Information Administration |  | Month | Days | I(F) | Ef | Residential electricity consumption (total population of state) | Residential electricity consumption per household in a month | BP E 160 modules required | Modules required | Cost of 1 module | Total cost of PV system | LADWP - SOLAR INCENTIVE PROGRAM | Net cost of system after LA incentive | Money savings with 30% federal tax credit (http://blog.recsolar.com/how-to-calculate-the-30-federal-investment-tax-credit-for-solar)
Month | residential million kWh |  |  | kWh/m2/d | kWh | million kWh | kWh |  |  |  |  | $0.3/W CEC-AC (https://energy.gov/savings/ladwp-solar-incentive-program) |  | 30% of system cost (This credit can be used to pay federal taxes) | Net cost of PV system
2016-12-01 | 7322.0051 | jan | 31 | 4 | 19.84 | 7807.7229 | 588.8115 | 29.678 | 30 | 719 | 21570 | 237.424 | 18832.1819 | 5649.6546 | 13182.5274
2016-11-01 | 6194.2274 | feb | 28 | 5 | 22.4 | 6489.0082 | 489.3619 | 21.8465 | 22 |  |  | 218.4651
2016-10-01 | 7108.9041 | mar | 31 | 6.5 | 32.24 | 6448.7995 | 486.3296 | 15.0847 | 16 |  |  | 196.1007
2016-09-01 | 8473.2748 | apr | 30 | 8 | 38.4 | 5916.1966 | 446.1639 | 11.6189 | 12 |  |  | 185.9016
2016-08-01 | 10194.064 | may | 31 | 8.7 | 43.152 | 5975.419 | 450.6301 | 10.4429 | 11 |  |  | 181.7057
2016-07-01 | 8897.2227 | jun | 30 | 8.9 | 42.72 | 7572.9075 | 571.1031 | 13.3685 | 14 |  |  | 237.9596
2016-06-01 | 7572.9075 | jul | 31 | 9.4 | 46.624 | 8897.2227 | 670.975 | 14.3912 | 15 |  |  | 270.5544
2016-05-01 | 5975.419 | aug | 31 | 8.8 | 43.648 | 10194.064 | 768.7749 | 17.6131 | 18 |  |  | 309.9899
2016-04-01 | 5916.1966 | sep | 30 | 8.2 | 39.36 | 8473.2748 | 639.0034 | 16.2348 | 17 |  |  | 266.2514
2016-03-01 | 6448.7995 | oct | 31 | 6.6 | 32.736 | 7108.9041 | 536.1108 | 16.3768 | 17 |  |  | 216.1737
2016-02-01 | 6489.0082 | nov | 30 | 4.6 | 22.08 | 6194.2274 | 467.1313 | 21.1563 | 22 |  |  | 194.6381
2016-01-01 | 7807.7229 | dec | 31 | 3.9 | 19.344 | 7322.0051 | 552.1815 | 28.5454 | 29 |  |  | 222.6538
[6 empty] | (https://www.eia.gov/electricity/data.cfm#sales) | [5 empty] | 2737.8181

## Scenario 2
CALIFORNIA
Scenario 2 : PV supplies 100% of electricty need in July
Energy requirement in July | 670.975 | kWh
No. of modules | 14.3917 | (rounded to 15)
Total cost of modules = | 10347.6536
backup battery system selected : East Penn Dekka batteries
Energy use per day in july = | 21.6444 | kWh | B.K. Hodge, 2010
Energy use for 2 days = | 43.2887 | kWh
Depth of storage specified= | 50 | %
Storage required= | 86.5774 | kWh
Discharge characteristics
Battery current | 1275 | Ah
Voltage | 12 | V
Storage capacity= | 15.3 | kWh
number of sets = | 5.6587 | sets
| 6 | sets required
Cost of 1 set = | 2275 | (as of 2008)
Total cost of batery sets= | 13650
Total cost of PV system = | 23997.6536
Energy generated by 1 module in 1 year = | 402.544 | kWh
Energy genearted by 15 modules in a year = | 6038.16 | kWh
LA solar credit, for entire year ($0.3/W)= | 2481.4356 | As this credit will go only to electricity from solar PV
Net solar cost = | 21516.218 | https://energy.gov/savings/ladwp-solar-incentive-program
federal tax credit (30%)= | 6454.8654
Net cost of PV system= | 17542.7882

## Scenario 3
CALIFORNIA
Scenario 3 : Electricity usage is reduced by 15%
2016-12-01
Residential energy consumed for california |  |  |  |  | 88400
population |  |  |  |  | 39250017
Persons per household |  |  |  |  | 2.96
Households |  |  |  |  | 13260140.8784
BP E 160 modules: Nominal power generation= 160 W at an irradiation of 1000 W/m2
https://energy.gov/savings/ladwp-solar-incentive-program
Month | Days | I(F) | Ef | Residential electricity consumption (total population of state) | Residential electricity consumption per household in a month | Reduced Residential electricity consumption per household in a month | BP E 160 modules required | Modules required | Cost of 1 module | Total cost of PV system | LADWP - SOLAR INCENTIVE PROGRAM | Net cost of system after LA incentive | Money savings with 30% federal tax credit
|  | kWh/m2/d | kWh | million kWh | kWh | kWh |  |  |  |  | $0.3/W CEC-AC |  | 30% of system cost (This credit can be used to pay federal taxes) | Net cost of PV system
jan | 31 | 4 | 19.84 | 7807.7229 | 588.8115 | 500.4897 | 25.2263 | 26 | 719 | 18694 | 201.8104 | 16366.8546 | 4910.0564 | 11456.7983
feb | 28 | 5 | 22.4 | 6489.0082 | 489.3619 | 415.9576 | 18.5695 | 19 |  |  | 185.6954
mar | 31 | 6.5 | 32.24 | 6448.7995 | 486.3296 | 413.3802 | 12.822 | 13 |  |  | 166.6856
apr | 30 | 8 | 38.4 | 5916.1966 | 446.1639 | 379.2393 | 9.876 | 10 |  |  | 158.0164
may | 31 | 8.7 | 43.152 | 5975.419 | 450.6301 | 383.0356 | 8.8764 | 9 |  |  | 154.4498
jun | 30 | 8.9 | 42.72 | 7572.9075 | 571.1031 | 485.4376 | 11.3632 | 12 |  |  | 202.2657
jul | 31 | 9.4 | 46.624 | 8897.2227 | 670.975 | 570.3287 | 12.2325 | 13 |  |  | 229.9713
aug | 31 | 8.8 | 43.648 | 10194.064 | 768.7749 | 653.4587 | 14.9711 | 15 |  |  | 263.4914
sep | 30 | 8.2 | 39.36 | 8473.2748 | 639.0034 | 543.1529 | 13.7996 | 14 |  |  | 226.3137
oct | 31 | 6.6 | 32.736 | 7108.9041 | 536.1108 | 455.6941 | 13.9203 | 14 |  |  | 183.7476
nov | 30 | 4.6 | 22.08 | 6194.2274 | 467.1313 | 397.0616 | 17.9829 | 18 |  |  | 165.4424
dec | 31 | 3.9 | 19.344 | 7322.0051 | 552.1815 | 469.3543 | 24.2636 | 25 |  |  | 189.2558
2327.1454